## alpha_registry
position | sensor_ids | n_calibration_sensor_minutes | registered_support_sensor_minutes | minimum_support_sensor_minutes | support_passed | ratio_median | ratio_mad_scale | ratio_p99 | recomputed_alpha | alpha_cluster_bootstrap_ci_low | alpha_cluster_bootstrap_ci_high | bootstrap_cluster | bootstrap_replicates | frozen_alpha | absolute_difference | registry_match | estimator | production_role
1 | DO_1_1,DO_2_1 | 521444 | 521444 | 43200 | TRUE | 0.07487 | 0.034721 | 0.34631 | 0.34631 | 0.28819 | 0.39639 | calendar_day | 1000 | 0.34631 | 2.1419e-11 | TRUE | max(P99,median+3x1.4826MAD)_of_minute_DO_over_Benson_Krause_Csat | frozen_operational_warning_only
2 | DO_1_2,DO_2_2 | 521461 | 521461 | 43200 | TRUE | 0.11171 | 0.042184 | 0.37156 | 0.37156 | 0.32635 | 0.42236 | calendar_day | 1000 | 0.37156 | 5.8055e-12 | TRUE | max(P99,median+3x1.4826MAD)_of_minute_DO_over_Benson_Krause_Csat | frozen_operational_warning_only
3 | DO_1_3,DO_2_3 | 521470 | 521470 | 43200 | TRUE | 0.25492 | 0.14218 | 0.54399 | 0.68145 | 0.61857 | 0.71843 | calendar_day | 1000 | 0.68145 | 1.4483e-11 | TRUE | max(P99,median+3x1.4826MAD)_of_minute_DO_over_Benson_Krause_Csat | frozen_operational_warning_only

## same_support_warning
sensor_id | phase | n_evaluable_minutes | n_neutral_eligible_minutes | dynamic_warning_count_all | dynamic_warning_count_neutral_eligible | dynamic_warning_rate_all | dynamic_warning_rate_neutral_eligible | dynamic_warning_rate_neutral_ci_low | dynamic_warning_rate_neutral_ci_high | n_2h_windows | n_2h_warning_windows | warning_2h_window_rate_neutral_eligible | warning_2h_window_rate_ci_low | warning_2h_window_rate_ci_high | minute_criterion_pass | window_criterion_pass | joint_threshold_pass | promotion_assessment | median_dynamic_upper_mg_L | p05_dynamic_upper_mg_L | p95_dynamic_upper_mg_L | score_role | reference_route | evaluation_support
DO_1_1 | calibration | 260820 | 260716 | 1401 | 1401 | 0.0053715 | 0.0053737 | 0.0016515 | 0.0105 | 2174 | 39 | 0.017939 | 0.0087114 | 0.029092 | TRUE | TRUE | TRUE | calibration_diagnostic_not_promotion | 3.181 | 2.6999 | 3.6279 | scored_operational_warning | neutral_primary | identical_neutral_minutes_and_windows
DO_1_1 | terminal_test | 18318 | 18300 | 0 | 0 | 0 | 0 | 0 | 0 | 153 | 0 | 0 | 0 | 0 | TRUE | TRUE | TRUE | locked_forward_test_not_used_for_selection | 3.371 | 3.3187 | 3.4241 | scored_operational_warning | neutral_primary | identical_neutral_minutes_and_windows
DO_1_1 | validation | 84960 | 84960 | 2 | 2 | 2.354e-05 | 2.354e-05 | 0 | 5.8851e-05 | 708 | 0 | 0 | 0 | 0 | TRUE | TRUE | TRUE | pass | 3.5895 | 3.4168 | 3.6877 | scored_operational_warning | neutral_primary | identical_neutral_minutes_and_windows
DO_1_2 | calibration | 260822 | 260735 | 1604 | 1604 | 0.0061498 | 0.0061518 | 0.0023145 | 0.010873 | 2174 | 46 | 0.021159 | 0.010119 | 0.036867 | TRUE | FALSE | FALSE | calibration_diagnostic_not_promotion | 3.4129 | 2.8967 | 3.8924 | scored_operational_warning | neutral_primary | identical_neutral_minutes_and_windows
DO_1_2 | terminal_test | 18318 | 18300 | 11 | 11 | 0.0006005 | 0.00060109 | 0 | 0.0016783 | 153 | 1 | 0.0065359 | 0 | 0.019608 | TRUE | TRUE | TRUE | locked_forward_test_not_used_for_selection | 3.6167 | 3.5606 | 3.6737 | scored_operational_warning | neutral_primary | identical_neutral_minutes_and_windows
DO_1_2 | validation | 84960 | 84960 | 11 | 11 | 0.00012947 | 0.00012947 | 0 | 0.00034193 | 708 | 1 | 0.0014124 | 0 | 0.0042373 | TRUE | TRUE | TRUE | pass | 3.8512 | 3.6659 | 3.9566 | scored_operational_warning | neutral_primary | identical_neutral_minutes_and_windows
DO_1_3 | calibration | 260819 | 260732 | 4 | 4 | 1.5336e-05 | 1.5341e-05 | 0 | 6.0767e-05 | 2174 | 1 | 0.00045998 | 0 | 0.0018307 | TRUE | TRUE | TRUE | calibration_diagnostic_not_promotion | 6.2594 | 5.3126 | 7.1387 | diagnostic_only | neutral_primary | identical_neutral_minutes_and_windows
DO_1_3 | terminal_test | 18318 | 18300 | 0 | 0 | 0 | 0 | 0 | 0 | 153 | 0 | 0 | 0 | 0 | TRUE | TRUE | TRUE | locked_forward_test_not_used_for_selection | 6.6332 | 6.5302 | 6.7376 | diagnostic_only | neutral_primary | identical_neutral_minutes_and_windows
DO_1_3 | validation | 84960 | 84960 | 0 | 0 | 0 | 0 | 0 | 0 | 708 | 0 | 0 | 0 | 0 | TRUE | TRUE | TRUE | pass | 7.0632 | 6.7233 | 7.2564 | diagnostic_only | neutral_primary | identical_neutral_minutes_and_windows
DO_2_1 | calibration | 260818 | 260728 | 3814 | 3814 | 0.014623 | 0.014628 | 0.006878 | 0.025449 | 2174 | 69 | 0.031739 | 0.020247 | 0.046716 | TRUE | FALSE | FALSE | calibration_diagnostic_not_promotion | 3.181 | 2.6999 | 3.6279 | scored_operational_warning | neutral_primary | identical_neutral_minutes_and_windows
DO_2_1 | terminal_test | 18318 | 18300 | 81 | 81 | 0.0044219 | 0.0044262 | 0 | 0.012676 | 153 | 4 | 0.026144 | 0 | 0.066667 | TRUE | FALSE | FALSE | locked_forward_test_not_used_for_selection | 3.371 | 3.3187 | 3.4241 | scored_operational_warning | neutral_primary | identical_neutral_minutes_and_windows
DO_2_1 | validation | 84960 | 84960 | 50 | 50 | 0.00058851 | 0.00058851 | 0 | 0.0014595 | 708 | 3 | 0.0042373 | 0 | 0.009887 | TRUE | TRUE | TRUE | pass | 3.5895 | 3.4168 | 3.6877 | scored_operational_warning | neutral_primary | identical_neutral_minutes_and_windows
DO_2_2 | calibration | 260816 | 260726 | 3610 | 3610 | 0.013841 | 0.013846 | 0.0052929 | 0.023725 | 2174 | 55 | 0.025299 | 0.012908 | 0.037859 | TRUE | FALSE | FALSE | calibration_diagnostic_not_promotion | 3.4129 | 2.8967 | 3.8924 | scored_operational_warning | neutral_primary | identical_neutral_minutes_and_windows
DO_2_2 | terminal_test | 18318 | 18300 | 0 | 0 | 0 | 0 | 0 | 0 | 153 | 0 | 0 | 0 | 0 | TRUE | TRUE | TRUE | locked_forward_test_not_used_for_selection | 3.6167 | 3.5606 | 3.6737 | scored_operational_warning | neutral_primary | identical_neutral_minutes_and_windows
DO_2_2 | validation | 84960 | 84960 | 36 | 36 | 0.00042373 | 0.00042373 | 0 | 0.0012712 | 708 | 1 | 0.0014124 | 0 | 0.0042373 | TRUE | TRUE | TRUE | pass | 3.8512 | 3.6659 | 3.9566 | scored_operational_warning | neutral_primary | identical_neutral_minutes_and_windows
DO_2_3 | calibration | 260828 | 260738 | 300 | 300 | 0.0011502 | 0.0011506 | 0.0003521 | 0.0021298 | 2174 | 13 | 0.0059798 | 0.0031888 | 0.0095894 | TRUE | TRUE | TRUE | calibration_diagnostic_not_promotion | 6.2594 | 5.3126 | 7.1387 | diagnostic_only | neutral_primary | identical_neutral_minutes_and_windows
DO_2_3 | terminal_test | 18318 | 18300 | 19 | 19 | 0.0010372 | 0.0010383 | 0 | 0.0031879 | 153 | 1 | 0.0065359 | 0 | 0.02 | TRUE | TRUE | TRUE | locked_forward_test_not_used_for_selection | 6.6332 | 6.5302 | 6.7376 | diagnostic_only | neutral_primary | identical_neutral_minutes_and_windows
DO_2_3 | validation | 84960 | 84960 | 28 | 28 | 0.00032957 | 0.00032957 | 0 | 0.00071798 | 708 | 3 | 0.0042373 | 0 | 0.0084746 | TRUE | TRUE | TRUE | pass | 7.0632 | 6.7233 | 7.2564 | diagnostic_only | neutral_primary | identical_neutral_minutes_and_windows
DO_1_1 | calibration | 260820 | 260716 | 2955 | 2955 | 0.01133 | 0.011334 | 0.0041796 | 0.020906 | 2174 | 65 | 0.029899 | 0.017461 | 0.045749 | TRUE | FALSE | FALSE | calibration_diagnostic_not_promotion | 2.5621 | 2.1746 | 2.9221 | scored_operational_warning | D1D2_screened_sensitivity | identical_neutral_minutes_and_windows
DO_1_1 | terminal_test | 18318 | 18300 | 12 | 12 | 0.00065509 | 0.00065574 | 0 | 0.00168 | 153 | 3 | 0.019608 | 0 | 0.052288 | TRUE | TRUE | TRUE | locked_forward_test_not_used_for_selection | 2.7151 | 2.673 | 2.7579 | scored_operational_warning | D1D2_screened_sensitivity | identical_neutral_minutes_and_windows
DO_1_1 | validation | 84960 | 84960 | 84 | 84 | 0.0009887 | 0.0009887 | 0.00036488 | 0.0016831 | 708 | 7 | 0.009887 | 0.0042373 | 0.016949 | TRUE | TRUE | TRUE | pass | 2.8912 | 2.752 | 2.9702 | scored_operational_warning | D1D2_screened_sensitivity | identical_neutral_minutes_and_windows
DO_1_2 | calibration | 260822 | 260735 | 4163 | 4163 | 0.015961 | 0.015966 | 0.0075091 | 0.025885 | 2174 | 96 | 0.044158 | 0.028055 | 0.064316 | TRUE | FALSE | FALSE | calibration_diagnostic_not_promotion | 2.8477 | 2.417 | 3.2478 | scored_operational_warning | D1D2_screened_sensitivity | identical_neutral_minutes_and_windows
DO_1_2 | terminal_test | 18318 | 18300 | 341 | 341 | 0.018616 | 0.018634 | 0.0093975 | 0.02858 | 153 | 27 | 0.17647 | 0.098039 | 0.26144 | TRUE | FALSE | FALSE | locked_forward_test_not_used_for_selection | 3.0178 | 2.971 | 3.0653 | scored_operational_warning | D1D2_screened_sensitivity | identical_neutral_minutes_and_windows
DO_1_2 | validation | 84960 | 84960 | 223 | 223 | 0.0026248 | 0.0026248 | 0.0012585 | 0.0043909 | 708 | 19 | 0.026836 | 0.012712 | 0.043785 | TRUE | FALSE | FALSE | fail | 3.2134 | 3.0588 | 3.3013 | scored_operational_warning | D1D2_screened_sensitivity | identical_neutral_minutes_and_windows
DO_1_3 | calibration | 260819 | 260732 | 282 | 282 | 0.0010812 | 0.0010816 | 1.5307e-05 | 0.0025811 | 2174 | 8 | 0.0036799 | 0.00046019 | 0.0078561 | TRUE | TRUE | TRUE | calibration_diagnostic_not_promotion | 4.6531 | 3.9493 | 5.3068 | diagnostic_only | D1D2_screened_sensitivity | identical_neutral_minutes_and_windows
DO_1_3 | terminal_test | 18318 | 18300 | 0 | 0 | 0 | 0 | 0 | 0 | 153 | 0 | 0 | 0 | 0 | TRUE | TRUE | TRUE | locked_forward_test_not_used_for_selection | 4.931 | 4.8545 | 5.0086 | diagnostic_only | D1D2_screened_sensitivity | identical_neutral_minutes_and_windows
DO_1_3 | validation | 84960 | 84960 | 11 | 11 | 0.00012947 | 0.00012947 | 0 | 0.00038842 | 708 | 1 | 0.0014124 | 0 | 0.0056497 | TRUE | TRUE | TRUE | pass | 5.2506 | 4.998 | 5.3942 | diagnostic_only | D1D2_screened_sensitivity | identical_neutral_minutes_and_windows
DO_2_1 | calibration | 260818 | 260728 | 7069 | 7069 | 0.027103 | 0.027113 | 0.014386 | 0.042519 | 2174 | 126 | 0.057958 | 0.038211 | 0.080661 | FALSE | FALSE | FALSE | calibration_diagnostic_not_promotion | 2.5621 | 2.1746 | 2.9221 | scored_operational_warning | D1D2_screened_sensitivity | identical_neutral_minutes_and_windows
DO_2_1 | terminal_test | 18318 | 18300 | 406 | 406 | 0.022164 | 0.022186 | 0.0043269 | 0.05196 | 153 | 10 | 0.065359 | 0.019231 | 0.11765 | FALSE | FALSE | FALSE | locked_forward_test_not_used_for_selection | 2.7151 | 2.673 | 2.7579 | scored_operational_warning | D1D2_screened_sensitivity | identical_neutral_minutes_and_windows
DO_2_1 | validation | 84960 | 84960 | 108 | 108 | 0.0012712 | 0.0012712 | 0.0003178 | 0.0025668 | 708 | 9 | 0.012712 | 0.0056497 | 0.022599 | TRUE | TRUE | TRUE | pass | 2.8912 | 2.752 | 2.9702 | scored_operational_warning | D1D2_screened_sensitivity | identical_neutral_minutes_and_windows
DO_2_2 | calibration | 260816 | 260726 | 6214 | 6214 | 0.023825 | 0.023833 | 0.012412 | 0.03706 | 2174 | 105 | 0.048298 | 0.030644 | 0.066668 | FALSE | FALSE | FALSE | calibration_diagnostic_not_promotion | 2.8477 | 2.417 | 3.2478 | scored_operational_warning | D1D2_screened_sensitivity | identical_neutral_minutes_and_windows
DO_2_2 | terminal_test | 18318 | 18300 | 13 | 13 | 0.00070968 | 0.00071038 | 0 | 0.0021311 | 153 | 1 | 0.0065359 | 0 | 0.019618 | TRUE | TRUE | TRUE | locked_forward_test_not_used_for_selection | 3.0178 | 2.971 | 3.0653 | scored_operational_warning | D1D2_screened_sensitivity | identical_neutral_minutes_and_windows
DO_2_2 | validation | 84960 | 84960 | 58 | 58 | 0.00068267 | 0.00068267 | 1.177e-05 | 0.0018244 | 708 | 3 | 0.0042373 | 0 | 0.009887 | TRUE | TRUE | TRUE | pass | 3.2134 | 3.0588 | 3.3013 | scored_operational_warning | D1D2_screened_sensitivity | identical_neutral_minutes_and_windows
DO_2_3 | calibration | 260828 | 260738 | 13835 | 13835 | 0.053043 | 0.053061 | 0.040364 | 0.06795 | 2174 | 686 | 0.31555 | 0.27555 | 0.36836 | FALSE | FALSE | FALSE | calibration_diagnostic_not_promotion | 4.6531 | 3.9493 | 5.3068 | diagnostic_only | D1D2_screened_sensitivity | identical_neutral_minutes_and_windows
DO_2_3 | terminal_test | 18318 | 18300 | 1868 | 1865 | 0.10198 | 0.10191 | 0.074093 | 0.13484 | 153 | 105 | 0.68627 | 0.54487 | 0.81699 | FALSE | FALSE | FALSE | locked_forward_test_not_used_for_selection | 4.931 | 4.8545 | 5.0086 | diagnostic_only | D1D2_screened_sensitivity | identical_neutral_minutes_and_windows
DO_2_3 | validation | 84960 | 84960 | 4420 | 4420 | 0.052024 | 0.052024 | 0.032579 | 0.074374 | 708 | 234 | 0.33051 | 0.24996 | 0.40685 | FALSE | FALSE | FALSE | fail | 5.2506 | 4.998 | 5.3942 | diagnostic_only | D1D2_screened_sensitivity | identical_neutral_minutes_and_windows

## warning_overlap
sensor_id | phase | n_neutral_minutes | screened_warning_minutes | neutral_warning_minutes | warning_minute_jaccard | screened_alpha | neutral_alpha
DO_1_1 | calibration | 260716 | 2955 | 1401 | 0.47411 | 0.27894 | 0.34631
DO_1_1 | terminal_test | 18300 | 12 | 0 | 0 | 0.27894 | 0.34631
DO_1_1 | validation | 84960 | 84 | 2 | 0.02381 | 0.27894 | 0.34631
DO_1_2 | calibration | 260735 | 4163 | 1604 | 0.3853 | 0.31003 | 0.37156
DO_1_2 | terminal_test | 18300 | 341 | 11 | 0.032258 | 0.31003 | 0.37156
DO_1_2 | validation | 84960 | 223 | 11 | 0.049327 | 0.31003 | 0.37156
DO_1_3 | calibration | 260732 | 282 | 4 | 0.014184 | 0.50658 | 0.68145
DO_1_3 | terminal_test | 18300 | 0 | 0 |  | 0.50658 | 0.68145
DO_1_3 | validation | 84960 | 11 | 0 | 0 | 0.50658 | 0.68145
DO_2_1 | calibration | 260728 | 7069 | 3814 | 0.53954 | 0.27894 | 0.34631
DO_2_1 | terminal_test | 18300 | 406 | 81 | 0.19951 | 0.27894 | 0.34631
DO_2_1 | validation | 84960 | 108 | 50 | 0.46296 | 0.27894 | 0.34631
DO_2_2 | calibration | 260726 | 6214 | 3610 | 0.58095 | 0.31003 | 0.37156
DO_2_2 | terminal_test | 18300 | 13 | 0 | 0 | 0.31003 | 0.37156
DO_2_2 | validation | 84960 | 58 | 36 | 0.62069 | 0.31003 | 0.37156
DO_2_3 | calibration | 260738 | 13835 | 300 | 0.021684 | 0.50658 | 0.68145
DO_2_3 | terminal_test | 18300 | 1865 | 19 | 0.010188 | 0.50658 | 0.68145
DO_2_3 | validation | 84960 | 4420 | 28 | 0.0063348 | 0.50658 | 0.68145

## score_delta
identity | n_common | mean_delta | mean_abs_delta | max_abs_delta | old_low_2h_windows | new_low_2h_windows | low_window_jaccard | spearman
DO_1_1 | 3037 | 0.010554 | 0.010554 | 1.6 | 0 | 0 |  | 0.97367
DO_1_2 | 3037 | 0.025612 | 0.025612 | 1.5353 | 0 | 0 |  | 0.9292
DO_1_3 | 3060 | 0 | 0 | 0 | 0 | 0 |  | 1
DO_1_4 | 3060 | 0 | 0 | 0 | 0 | 0 |  | 1
DO_2_1 | 3037 | 0.026659 | 0.026659 | 1.6 | 0 | 0 |  | 0.87025
DO_2_2 | 3037 | 0.017602 | 0.017602 | 1.6 | 0 | 0 |  | 0.78881
DO_2_3 | 3060 | 0 | 0 | 0 | 0 | 0 |  | 1
DO_2_4 | 3060 | 0 | 0 | 0 | 0 | 0 |  | 1
ORP_1_1 | 3060 | 0 | 0 | 0 | 0 | 0 |  | 1
ORP_1_2 | 3060 | 0 | 0 | 0 | 0 | 0 |  | 1
ORP_1_3 | 3060 | 0 | 0 | 0 | 27 | 27 | 1 | 1
ORP_2_1 | 3060 | 0 | 0 | 0 | 0 | 0 |  | 1
ORP_2_2 | 3060 | 0 | 0 | 0 | 0 | 0 |  | 1
ORP_2_3 | 3060 | 0 | 0 | 0 | 0 | 0 |  | 1

## gate_transition
sensor_id | D3_gate_status_old | D3_gate_status_new | n_2h_windows
DO_1_1 | NotEvaluated | NotEvaluated | 35
DO_1_1 | Pass | Pass | 2798
DO_1_1 | Warn | Pass | 11
DO_1_1 | Warn | Warn | 228
DO_1_2 | NotEvaluated | NotEvaluated | 31
DO_1_2 | Pass | Pass | 2416
DO_1_2 | Warn | Pass | 71
DO_1_2 | Warn | Warn | 554
DO_1_3 | NotEvaluated | NotEvaluated | 12
DO_1_3 | Pass | Pass | 2284
DO_1_3 | Warn | Warn | 776
DO_1_4 | NotEvaluated | NotEvaluated | 12
DO_1_4 | Pass | Pass | 3047
DO_1_4 | Warn | Warn | 13
DO_2_1 | NotEvaluated | NotEvaluated | 34
DO_2_1 | Pass | Pass | 2765
DO_2_1 | Warn | Pass | 60
DO_2_1 | Warn | Warn | 213
DO_2_2 | NotEvaluated | NotEvaluated | 35
DO_2_2 | Pass | Pass | 2878
DO_2_2 | Warn | Pass | 59
DO_2_2 | Warn | Warn | 100
DO_2_3 | NotEvaluated | NotEvaluated | 12
DO_2_3 | Pass | Pass | 753
DO_2_3 | Warn | Warn | 2307
DO_2_4 | NotEvaluated | NotEvaluated | 12
DO_2_4 | Pass | Pass | 2972
DO_2_4 | Warn | Warn | 88
ORP_1_1 | NotEvaluated | NotEvaluated | 12
ORP_1_1 | Pass | Pass | 3057
ORP_1_1 | Warn | Warn | 3
ORP_1_2 | NotEvaluated | NotEvaluated | 12
ORP_1_2 | Pass | Pass | 2963
ORP_1_2 | Warn | Warn | 97
ORP_1_3 | NotEvaluated | NotEvaluated | 12
ORP_1_3 | Pass | Pass | 1930
ORP_1_3 | Warn | Warn | 1130
ORP_2_1 | NotEvaluated | NotEvaluated | 12
ORP_2_1 | Pass | Pass | 3050
ORP_2_1 | Warn | Warn | 10
ORP_2_2 | NotEvaluated | NotEvaluated | 12
ORP_2_2 | Pass | Pass | 3052
ORP_2_2 | Warn | Warn | 8
ORP_2_3 | NotEvaluated | NotEvaluated | 12
ORP_2_3 | Pass | Pass | 514
ORP_2_3 | Warn | Warn | 2546